Instructions for millie-mova system (including maxi unit)

DO – fit the millie-mova according to the instructions.

DO – get the chair as close to the table as is possible before pushing (if relevant).

DO – ensure that the Service User’s legs, feet and hands are clear of the table and chair when pushing in.

DO – push the pedal down enough to raise the front legs onto the wheels.

DO – visually check the screws/nuts & bolts are not loosening at the pivots on the bottom of the front chair legs and on the rear wheels – MONTHLY.

DO – check the front anti-slip rubber washers (if fitted) - WEEKLY.

DO – check that the shock cords (if fitted) are in place and undamaged, and that wheels are not touching the floor when it is not being used - MONTHLY.

DO  - keep the device clean (for hygiene and maintenance reasons).

DO NOT – push the pedal right down onto the floor – this will restrict the forward and backwards movement.

DO NOT – use with a person of more than 130kg (100kg for the millie-mova maxi).

DO NOT – do not stand on the chair or sit on the top of the backrest.

DO NOT – use the millie-mova to push in more than you feel comfortable (i.e. without doing the splits). Reposition yourself and push a second or third time.

DO NOT – use the millie-mova to move more than is necessary to get someone to and from the table (probably no more than 1.5m) – it is not a wheelchair substitute (if relevant – maxi only).

DO NOT – use the millie-mova, if it appears damaged.